## icecubedata_2018-12-27 Pit 2 m central albedo area
IceCube | SSA | Converter | - | v1.11
Data | exported | on | 2020-10-04T12:10:01
----------------
IceCube | device
Serial | number: | IS3-SP-14-02N
Device | released | on: | 2014-11-19
Last | revised | on: | 2014-11-19
NOTE: | this | IceCube | device | was | last | revised | more | than | 5 | years | ago.
Please | consider | recalibrating | it | in | the | near | future | for | optimal | results.
Sphere | wall | surface | (%): | 0.98177
Snow | surface | (%): | 0.015751
Photodiode | surface | (%): | 0.000145
----------------
Calibration | data
Set | of | reflectance | standards
Serial | number: | IS3-RS-14-02N
Released | on: | 2014-11-19
Last | revised | on: | 2014-11-19
NOTE: | this | set | was | last | revised | more | than | 5 | years | ago.
Please | consider | recalibrating | it | in | the | near | future | for | optimal | results.
Standard | # | Signal | (mV) | Reflectance | (%)
#1 | 69.6 | 5.22
#2 | 112.6 | 10.44
#3 | 191.2 | 19.22
#4 | 507.4 | 48.3
#5 | 867.2 | 70.19
#6 | 1620.9 | 98.25
Number | of | standards | used | for | calibration: | 6
Overall | calibration | quality: | Fair
Overall | residue | for | polynomial | fit: | 786.351
*** | A | fair | quality | calibration | will | strongly | reduce | the | system | accuracy. | It | is | advised | that | you | go | through | calibration | again, | or | revise | your | standards.
2 | standard(s) | with | excellent | fitting: | #4 | #6
2 | standard(s) | with | fair | fitting: | #3 | #5
2 | standard(s) | with | poor | fitting: | #1 | #2
*** | Information | about | the | fit | of | individual | standards | is | only | indicative: | because | of | the | way | polynomial | regression | works, | the | standard(s) | responsible | for | a | bad | calibration | quality | might | appear | with | a | perfect | fit, | and | vice-versa.
Background | (mV): | 52.7
Optical | parameters
Fraction | of | collimated | photons: | 0.999
Reflectance | of | sphere | wall: | 0.9916
Electronics | gain: | 1244
Comment | on | calibration: | 2018-12-27 | Snow | Pit | central | 2 | m
----------------
Acquisition | data
Sample | number | Series | Sample signal | Reflectance | SSA | Comment
1 | 200-912 | cm | 411.7 | 40.51 | 28.9 | plain middle surface samples
2 | 200-912 | cm | 403.7 | 39.82 | 27.8
3 | 200-912 | cm | 429.1 | 41.99 | 31.4
4 | 192-187 | cm | 362.9 | 36.16 | 22.8
5 | 192-187 | cm | 372.6 | 37.05 | 24
6 | 192-187 | cm | 369.4 | 36.76 | 23.6
7 | 187-185 | cm | 310.8 | 31.19 | 17.5
8 | 187-185 | cm | 306.4 | 30.76 | 17.1
9 | 187-185 | cm | 307.9 | 30.91 | 17.2
10 | 185-182 | cm | 321.9 | 32.28 | 18.5
11 | 185-182 | cm | 326.7 | 32.75 | 19
12 | 185-182 | cm | 322.4 | 32.33 | 18.6
13 | 182-174 | cm | 282.4 | 28.33 | 15
14 | 182-174 | cm | 282.8 | 28.37 | 15.1
15 | 182-174 | cm | 282.2 | 28.31 | 15
16 | 174-168 | cm | 313.6 | 31.47 | 17.7
17 | 174-168 | cm | 306.9 | 30.81 | 17.1
18 | 174-168 | cm | 299.8 | 30.1 | 16.5
19 | 168-161 | cm | 269.7 | 27 | 14
20 | 168-161 | cm | 250.7 | 24.98 | 12.5
21 | 168-161 | cm | 261.8 | 26.17 | 13.4
22 | 161-150 | cm | 258.7 | 25.84 | 13.1
23 | 161-150 | cm | 260.8 | 26.06 | 13.3
24 | 161-150 | cm | 253.7 | 25.3 | 12.8
25 | 150-142 | cm | 253.2 | 25.25 | 12.7
26 | 150-142 | cm | 248.5 | 24.74 | 12.4
27 | 150-142 | cm | 251.9 | 25.11 | 12.6
28 | 142-132 | cm | 254.7 | 25.41 | 12.8
29 | 142-132 | cm | 241.9 | 24.02 | 11.9
30 | 142-132 | cm | 245.4 | 24.41 | 12.2
31 | 132-114 | cm | 253.9 | 25.33 | 12.8
32 | 132-114 | cm | 253.1 | 25.24 | 12.7
33 | 132-114 | cm | 248.5 | 24.74 | 12.4
34 | 114-102 | cm | 254.1 | 25.35 | 12.8
35 | 114-102 | cm | 255.4 | 25.49 | 12.9
36 | 114-102 | cm | 249.6 | 24.86 | 12.5
37 | 102-98 | cm | 234 | 23.15 | 11.3
38 | 102-98 | cm | 236.8 | 23.46 | 11.5
39 | 102-98 | cm | 230.6 | 22.78 | 11.1
40 | 98-85 | cm | 217.1 | 21.26 | 10.1
41 | 98-85 | cm | 218.2 | 21.38 | 10.2
42 | 98-85 | cm | 211.3 | 20.6 | 9.7
43 | 85-63 | cm | 217 | 21.25 | 10.1
44 | 85-63 | cm | 229 | 22.6 | 11
45 | 85-63 | cm | 225.4 | 22.2 | 10.7
46 | 63-53 | cm | 204.6 | 19.82 | 9.2
47 | 63-53 | cm | 204.2 | 19.78 | 9.2
48 | 63-53 | cm | 221.1 | 21.71 | 10.4
49 | 53-24 | cm | 218.8 | 21.45 | 10.2
50 | 53-24 | cm | 205.1 | 19.88 | 9.3
51 | 53-24 | cm | 186.9 | 17.75 | 8 | very | bottom | of | the | layer
52 | 24-0 | cm | 204.1 | 19.77 | 9.2
53 | 24-0 | cm | 209.1 | 20.34 | 9.6
54 | 24-0 | cm | 198.9 | 19.16 | 8.8
55 | 0-1 | cm | 437.7 | 42.71 | 32.6 | crusty | surface | sample
56 | 0-1 | cm | 457.7 | 44.35 | 35.7 | crusty | surface | sample
57 | 0-1 | cm | 430.8 | 42.13 | 31.6 | crusty | surface | sample
58 | 1-2 | cm | 416.9 | 40.95 | 29.6
59 | 1-2 | cm | 413.8 | 40.69 | 29.2
60 | 1-2 | cm | 398.9 | 39.4 | 27.2
61 | 2-3 | cm | 410.6 | 40.41 | 28.8
62 | 2-3 | cm | 413.8 | 40.69 | 29.2
63 | 2-3 | cm | 415.9 | 40.87 | 29.5
64 | 3-4 | cm | 391.6 | 38.75 | 26.3
65 | 3-4 | cm | 387.8 | 38.42 | 25.8
66 | 3-4 | cm | 393.6 | 38.93 | 26.5
67 | 4-5 | cm | 424.8 | 41.63 | 30.7
68 | 4-5 | cm | 413.8 | 40.69 | 29.2
69 | 4-5 | cm | 409.8 | 40.34 | 28.7